## Read Me
About this Tool
The RecoverPoint minimum journal size calculator enables you to obtain a preliminary calculation of the minimum journal size required in order to meet a specific protection window requirement and/or enable snapshot consolidation. An error will appear in the red error text area above the journal size calculation whenever one of the minimum or maximum journal size limits are exceeded. If an incorrect value is entered, an error message is displayed with the appropriate input options.
Note: This Tool Does not Replace BCSD
This tool was created to allow users to obtain a quick preliminary sizing, allowing them to start using RecoverPoint. To ensure that your journal most efficiently meets your protection requirements, you must fill in the SVC Qualifier and send your performance statistics to EMC for evaluation through BCSD.
How to Use this Tool
To display the minimum journal size required to enable snapshot consolidation:
Set Is snapshot consolidation required? to yes, Daily Consolidations to 1, and Weekly and Monthly Consolidations to 0.
To display the minimum journal size required to support a specific protection window:
Set Is snapshot consolidation required? to yes, and your required Daily, Weekly and Monthlyconsolidations as required.
Journal Volume Best Practices
Total Journal Size = (# of Journal Volumes) x (Size of Smallest Volume)
* For best efficiency, add journal volumes of the same (or a similar) size.
* Note that a single journal volume cannot exceed 2 TB in size.
Note: Adding journal volumes to enlarge the capacity of a journal does not cause full sweep or journal loss.
Journal Sizing Limitations
The following limitations are enforced by this calculator, and an error will appear in the red error text area above the journal size calculation whenever one of these limits are exceeded:
* Maximum journal size cannot exceed 10 TB.
* Minimum journal size without snapshot consolidation is 5 GB for regular groups and 20 GB for distributed groups.
* Minimum journal size with snapshot consolidation is 10 GB for regular groups and 40 GB for distributed groups.

## Minimum Journal Size Calculator
EMC RecoverPoint Journal Sizing Tool
| Journal Size Must Be at Least (in GB) | 46.1786
IA | What percent of the journal is dedicated to the image access log? [20% is default] | 20%
6 GB | Does this journal belong to a copy of a distributed group? | Yes
COMP | What is the compressibility of this group's data? (%) | 0%
C | What is the average I/O rate of this group? (MBps) | 0.5
PW | What is the required protection window (time to keep all data unconsolidated)? (hrs.) | 12
0.25 | Is snapshot consolidation required? | Yes
LD | LD | 0.3
LW | LW | 0.3
LM | LM | 0.3
0.1 | InstantRecoveryStream | 0.1
1.5 GB | basePersistentSize | 1.5
| SpaceForMarkingAndReplication | 6
| ioRatePerHour | 1.7578
| PW | 12
| DailyConsolidationsInHours | 0
| WeeklyConsolidationsInHours | 0
| monthlyConsolidationsInHours | 0
| isConsolidationEnabled | 0.25
| spaceLessConsolidation | 0.75
| spaceAfterIRandTCP | 0.7
| spaceAfterCompression | 1
Required consolidations
| Daily consolidations: | 0
| Weekly consolidations: | 0
| Monthly consolidations: | 0
Journal Volume Best Practices
Total Journal Size = (# of Journal Volumes) x (Size of Smallest Volume)
* For best efficiency, add journal volumes of the same (or a similar) size.
* Note that a single journal volume cannot exceed 2 TB in size.
Note: Adding journal volumes to enlarge the capacity of a journal does not cause full sweep or journal loss.
Red error text will appear here whenever a minimum or maximum journal size limit has been reached.
All fields are mandatory.
This is a preliminary value to get you started. For a more precise value, submit your SVC Qualifier and use BCSD.
30 GB
25 GB
20 GB
Used Capacity
Unused Capacity

## Snapshot Simulator (hidden)
EMC RecoverPoint Journal Sizing Tool
Instructions
Enter a journal size to display the number of snapshots that can be stored in that journal. The settings How many daily / weekly snapshots are required? are only relevant if the settings Populate the remainter of the journal with daily / weekly snapshots?are set to Yes.
Snapshot Consolidation Policy Settings | Value | Snapshot Simulator
What is the journal size that you wish to evaluate? (in GB) | 1000 | Number of daily snapshots
What percent of the journal is dedicated to the image access log? | 20% | 2
Does this journal belong to a distributed group? | Yes | Number of weekly snapshots
What is the compressibility of this group's data? (%) | 12% | 12
What is the average I/O rate of this group? (MBps) | 0.5 | Number of monthly snapshots
What is the time during which all data should be kept unconsolidated? (hrs.) | 12 | 567.0114
Populate the remainder of the journal with daily snapshots? | No
- How many daily snapshots are required? | 2
Populate the remainder of the journal with weekly snapshots? | No
- How many weekly snapshots are required? | 12
AvailableCapacity | 593.0114
LD | 0.3
LW | 0.3
LM | 0.3
InstantRecoveryStream | 0.1
basePersistentSize | 1.5
SpaceForMarkingAndReplication | 6
ioRatePerHour | 1.7578
spaceLessConsolidation | 0.75
spaceAfterIRandTCP | 0.7
spaceAfterCompression | 0.88
space required for CDP | 21.0938
minimum space to start daily | 63.2812
remaining space for days | 16.8
remaining space for weeks | 29.5312
remaining space for months

## Journal Simulator (hidden)
My Journal | Days
Unconsolidated | 0.5
Daily | 2
Weekly | 84
Monthly | 15876.3182